Access Audit
Collingwood Pre-school

	Checked Area
	Evident
	Comment/Action i.e. further risk assessment to be undertaken

	Approach to the building
	Yes
	No
	

	Are there disabled parking facilities?
	
	
	There are parking facilities in the school’s main car parking area.


	Are kerbs lowered?


	
	
	At the school’s main entrance. 


	Is the entrance gate wide enough for wheelchair users?

	
	
	

	Are there orientation landmarks for visual impairment?


	
	
	Orientation landmarks are on internal doors leading to the classroom.

	Is the route clearly signed?


	
	
	Pre-school has erected a sign on the outside of the building. 
All visitors are advised of the route to the classroom.



	Are support rails or resting platforms provided on inclines?


	
	
	

	Are all surface coverings even and non-slip?


	
	
	

	Are pathways clear of obstructions?

	
	
	

	Are all areas adequately lit?

	
	
	

	Do steps & handrails accompany ramps?


	
	
	

	Are steps suitable & highlighted for differentiation?

	
	
	

	Are resting platforms available & highlighted?

	
	
	n/a

	Is there adequate lighting at the front & along the route of the building?

	
	
	

	Entrances


	Yes
	No
	

	Is there an entry-phone and/or a doorbell and is at a reasonable height for wheelchair users?

	
	
	n/a

	Is there a level or flush threshold?

	
	
	

	Are doors easy to open & doorways wide enough for all users to pass through & clear the door swing?


	
	
	

	Are glazed doors marked for safety/visibility?


	
	
	

	Are door closer mechanisms appropriately adjusted (so as not to close too quickly)?

	
	
	Door is secured when open to stop the door closing.

	Are door controls (handles/knobs) at a suitable height, clearly located & easy to use?


	
	
	

	Is the information on the welcome board in a range of formats & at an appropriate height to suit varying needs?


	
	
	

	Is the entrance signposted & easy to find?



	
	
	

	Is the route to the destination clearly marked?


	
	
	

	If applicable, is the doormat in a good condition & flush with the floor?


	
	
	

	If an induction loop is fitted, is it working?
	
	
	


	Can people either side of the door be seen?

	
	
	Fully on one door and partly on the door opposite the toilets.


	Inside the building
	Yes
	No
	

	Are floor surfaces suitable?


	
	
	

	Are the acoustics of the building suitable for adults/children with hearing impairments?


	
	
	

	Are there colour & tonal contrast help distinguish fixtures and fittings from surfaces, walls & floors?


	
	
	

	Is there a disabled WC facility no further than one floor away from the room being used?


	
	
	Located within the school premises.



	Handrails available at varying heights in the WC?

	
	

	The pre-school would review this where the situation arose.



	Support rails available in relevant areas?

	
	
	The pre-school would review this where the situation arose.



	Is the environment free from unnecessary noise?


	
	
	

	Audible, manual & mechanical alarm systems supplemented with visual & verbal warnings?


	
	
	

	Are all areas in the building wide enough for adults & children using mobility equipment to manoeuvre?


	
	
	The pre-school would endeavour to make such provision, if possible.



	Fittings fixed without dangerous edges?


	
	
	

	Clutter free travel routes (coats, bags on floor).

	
	
	

	Control of natural/artificial light to avoid glare/silhouettes & is lighting adequate?


	
	
	

	Door control (handle) at a suitable height/clearly located & easy to use?
	
	
	


